## Checklist
Dental X-Ray SOP checklist
SOP-DEN-004 ¦ Rev 1.0 ¦ Owner: Radiation Safety Officer
Completed by: |  |  | Date: |  |  | Shift:
Step | Task | Details | Owner | Done | Initials | Time | Notes
5.1 | Confirm the radiograph order | Confirm which radiographs the dentist has ordered and why, checking the patient's radiograph history to avoid an unnecessary repeat exposure. | Dental Assistant
5.2 | Explain the procedure to the patient | Explain what the patient can expect, including the use of a shield and sensor or film, and answer any questions before beginning. | Dental Assistant
5.3 | Apply patient shielding | Place a lead or lead-equivalent apron and thyroid collar on the patient according to facility policy and the type of radiograph being taken. Checkpoint: Shielding is applied and positioned correctly before the sensor or film is placed. | Dental Assistant
5.4 | Prepare the sensor or film with a barrier | Cover the sensor with a disposable barrier sheath, or prepare the film packet, changing the barrier between every patient. | Dental Assistant
5.5 | Position the sensor or film | Position the sensor or film using a positioning device for the specific view ordered, aligning it to capture the target teeth and surrounding structures. | Dental Assistant
5.6 | Set the exposure settings | Select the exposure settings appropriate to the patient's size and the view being taken, using the lowest setting that will produce a diagnostic image. | Dental Assistant
5.7 | Step behind the barrier and expose | Step behind the protective barrier or leave the room as required by facility policy before triggering the exposure, and confirm the patient remains still. Warning: Never remain in the room without protective shielding while triggering an exposure. | Dental Assistant
5.8 | Review the image for diagnostic quality | Check the resulting image for correct positioning, contrast and coverage of the target area before removing the shielding from the patient. Checkpoint: Image quality is confirmed as diagnostic before the patient is released from positioning. | Dental Assistant
5.9 | Retake only when necessary | If the image is non-diagnostic, retake it using corrected positioning or settings, keeping shielding in place and minimizing the number of retakes. | Dental Assistant
5.10 | Remove shielding and clean up | Remove the lead apron and thyroid collar, dispose of the sensor barrier, and clean the sensor or holder according to infection control procedures. | Dental Assistant
5.11 | Interpret and document findings | Review the radiograph, document diagnostic findings in the patient chart, and discuss relevant findings with the patient. | Dentist
5.12 | Log retakes and maintain equipment records | Log any retake with the reason, and keep equipment calibration and staff dosimetry records current according to facility policy and local regulations. | Radiation Safety Officer
Supervisor sign-off: |  |  | Date:

## SOP
Dental X-Ray SOP
Standard operating procedure
Document no. | SOP-DEN-004
Revision | 1.0
Owner | Radiation Safety Officer
Effective date | September 15, 2026
Review cycle | Every 12 months
1. Purpose
To capture diagnostic-quality dental radiographs while minimizing radiation exposure to patients and staff, and to keep equipment and technique consistent across the practice.
2. Scope
Applies to intraoral and panoramic dental radiographs taken in the practice. Cone beam computed tomography imaging is covered by a separate SOP.
Definitions
ALARA | As low as reasonably achievable, the principle of using the lowest radiation dose needed to get a diagnostic image.
Thyroid collar | A lead or lead-equivalent shield placed around the patient's neck to protect the thyroid during exposure.
Retake | A repeated radiograph needed because the first image was non-diagnostic due to positioning, exposure or movement.
3. Responsibilities
Dental Assistant | Positions the patient and sensor, sets exposure settings and captures the radiograph.
Dentist | Orders the radiograph, reviews image quality and interprets the diagnostic findings.
Radiation Safety Officer | Maintains equipment calibration records, staff dosimetry and radiograph retake tracking.
RACI matrix
Order the radiograph and confirm necessity | Dental Assistant: I ¦ Dentist: R/A ¦ Radiation Safety Officer: -
Shield and position the patient | Dental Assistant: R/A ¦ Dentist: I ¦ Radiation Safety Officer: -
Capture and review image quality | Dental Assistant: R ¦ Dentist: R/A ¦ Radiation Safety Officer: -
Maintain equipment calibration and dosimetry | Dental Assistant: I ¦ Dentist: C ¦ Radiation Safety Officer: R/A
4. Materials and PPE
Materials, tools and systems
Digital radiography sensor or film and processor
Lead or lead-equivalent apron and thyroid collar
Sensor positioning devices
Practice management system for image storage
Retake and equipment calibration log
Personal protective equipment
Disposable gloves
Disposable sensor sheath or barrier
5. Procedure
5.1 Confirm the radiograph order | Confirm which radiographs the dentist has ordered and why, checking the patient's radiograph history to avoid an unnecessary repeat exposure. Owner: Dental Assistant
5.2 Explain the procedure to the patient | Explain what the patient can expect, including the use of a shield and sensor or film, and answer any questions before beginning. Owner: Dental Assistant
5.3 Apply patient shielding | Place a lead or lead-equivalent apron and thyroid collar on the patient according to facility policy and the type of radiograph being taken. Owner: Dental Assistant Checkpoint: Shielding is applied and positioned correctly before the sensor or film is placed.
5.4 Prepare the sensor or film with a barrier | Cover the sensor with a disposable barrier sheath, or prepare the film packet, changing the barrier between every patient. Owner: Dental Assistant
5.5 Position the sensor or film | Position the sensor or film using a positioning device for the specific view ordered, aligning it to capture the target teeth and surrounding structures. Owner: Dental Assistant
5.6 Set the exposure settings | Select the exposure settings appropriate to the patient's size and the view being taken, using the lowest setting that will produce a diagnostic image. Owner: Dental Assistant
5.7 Step behind the barrier and expose | Step behind the protective barrier or leave the room as required by facility policy before triggering the exposure, and confirm the patient remains still. Owner: Dental Assistant Warning: Never remain in the room without protective shielding while triggering an exposure.
5.8 Review the image for diagnostic quality | Check the resulting image for correct positioning, contrast and coverage of the target area before removing the shielding from the patient. Owner: Dental Assistant Checkpoint: Image quality is confirmed as diagnostic before the patient is released from positioning.
5.9 Retake only when necessary | If the image is non-diagnostic, retake it using corrected positioning or settings, keeping shielding in place and minimizing the number of retakes. Owner: Dental Assistant
5.10 Remove shielding and clean up | Remove the lead apron and thyroid collar, dispose of the sensor barrier, and clean the sensor or holder according to infection control procedures. Owner: Dental Assistant
5.11 Interpret and document findings | Review the radiograph, document diagnostic findings in the patient chart, and discuss relevant findings with the patient. Owner: Dentist
5.12 Log retakes and maintain equipment records | Log any retake with the reason, and keep equipment calibration and staff dosimetry records current according to facility policy and local regulations. Owner: Radiation Safety Officer
6. Quality checks
Retake rate stays at or below the practice's target.
Shielding is documented as applied for every radiograph taken.
Equipment calibration records are current for every X-ray unit.
Staff dosimetry badges are worn and results reviewed on schedule.
7. Records
Radiograph images and interpretation notes in the patient chart
Retake log with reasons
Equipment calibration records
Staff radiation dosimetry reports
8. KPIs
Radiograph retake rate
Average radiation dose per exposure type
Equipment calibration compliance rate
Percentage of radiographs with documented shielding
9. Common mistakes
Skipping the thyroid collar to save time on a routine bitewing series.
Remaining in the room without protection during exposure.
Retaking an image repeatedly without correcting the positioning error first.
Reusing a sensor barrier between patients.
10. Revision history
1.0 | Date: September 15, 2026 ¦ Description: Initial release ¦ Reviewed by: Ilia Pirozhenko

## Training Log
Dental X-Ray SOP training log
Record every employee trained on this SOP.
Employee name | Role | Date trained | Trainer | Employee signature | Trainer signature | Notes

## Revision Log
Dental X-Ray SOP revision log
Revision | Date | Description | Changed by | Approved by
1.0 | September 15, 2026 | Initial release | Ilia Pirozhenko

## About
About this template
This checklist comes from the free SOP template library by Perfect Wiki.
Open the template page
Keep this SOP up to date where your team works
Add it to Perfect Wiki so your team can find it and ask questions about it in Microsoft Teams, Slack, kChat or Mattermost.
Add to Perfect Wiki
This is a template. Adapt it to your organization, equipment and local regulations before use.