## Checklist
Dental Operatory Turnover SOP checklist
SOP-DEN-002 ¦ Rev 1.0 ¦ Owner: Office Manager
Completed by: |  |  | Date: |  |  | Shift:
Step | Task | Details | Owner | Done | Initials | Time | Notes
5.1 | Escort the patient out and don PPE | Walk the patient to the front desk, then put on gloves, mask and eye protection before touching any contaminated surface in the operatory. | Dental Assistant
5.2 | Remove used instruments and cassette | Remove the used instrument cassette and any loose instruments, and transport them to the sterilization area in a covered container. | Dental Assistant
5.3 | Remove barriers and dispose of waste | Remove all used barrier covers and dispose of them along with other clinical waste in the correct waste stream, including biohazard waste where applicable. | Dental Assistant
5.4 | Flush the suction and water lines | Run the recommended flush cycle on suction lines and dental unit waterlines between patients according to the manufacturer's instructions. | Dental Assistant
5.5 | Clean visible debris from surfaces | Wipe visible debris and spatter from the chair, light, bracket table and counters before applying disinfectant. | Dental Assistant
5.6 | Disinfect clinical contact surfaces | Apply an EPA-registered surface disinfectant to every clinical contact surface, keeping the surface visibly wet for the full contact time on the product label. Checkpoint: Every clinical contact surface stays visibly wet for the disinfectant's full contact time before it is touched again. | Dental Assistant
5.7 | Apply new barrier covers | Place fresh barrier covers on the light handle, chair switches, headrest, bracket table and any other high-touch surface that will contact gloved hands. | Dental Assistant
5.8 | Set up the sterile instrument tray | Retrieve the correctly labeled sterile instrument cassette for the scheduled procedure and set it up on the bracket table without opening it early. Checkpoint: The instrument package is checked for intact packaging and a valid sterilization indicator before it is opened. | Dental Assistant
5.9 | Restock consumable supplies | Restock gloves, masks, cotton rolls, anesthetic supplies and any procedure-specific materials needed for the next patient. | Dental Assistant
5.10 | Prepare the chart and imaging | Pull up the next patient's chart, treatment plan and any needed radiographs in the practice management system before the patient is seated. | Dental Assistant
5.11 | Confirm the operatory is ready | Do a final visual check of the room against the turnover checklist before signaling the front desk that the operatory is ready. | Dental Assistant
5.12 | Manage scheduling if turnover runs long | If turnover is taking longer than the scheduled gap, notify the front desk immediately so they can adjust the next patient's wait or reschedule if necessary. | Front Desk Coordinator
Supervisor sign-off: |  |  | Date:

## SOP
Dental Operatory Turnover SOP
Standard operating procedure
Document no. | SOP-DEN-002
Revision | 1.0
Owner | Office Manager
Effective date | September 15, 2026
Review cycle | Every 12 months
1. Purpose
To make sure every operatory is cleaned, disinfected and reset to the same standard between patients, reducing cross-contamination risk and keeping appointments on schedule.
2. Scope
Applies to routine turnover of general dental operatories between patients. Deep cleaning at end of day and instrument sterilization are covered by separate SOPs.
Definitions
Barrier protection | Disposable covers placed on surfaces such as light handles, chair controls and computer equipment that are hard to disinfect between patients.
Clinical contact surface | A surface touched by gloved hands or contaminated instruments during treatment, such as the chair, light handle and dental unit controls.
Turnover time | The time between one patient leaving the operatory and the next patient being seated.
3. Responsibilities
Dental Assistant | Cleans and disinfects the operatory, replaces barriers and resets the room for the next patient.
Sterilization Coordinator | Supplies sterile instrument cassettes and restocks disinfectant and barrier supplies.
Front Desk Coordinator | Confirms the next patient and operatory assignment and manages scheduling if turnover runs long.
RACI matrix
Remove barriers and disinfect surfaces | Dental Assistant: R/A ¦ Sterilization Coordinator: I ¦ Front Desk Coordinator: -
Replace barriers and restock supplies | Dental Assistant: R/A ¦ Sterilization Coordinator: C ¦ Front Desk Coordinator: -
Set up the next patient's instrument tray | Dental Assistant: R ¦ Sterilization Coordinator: R/A ¦ Front Desk Coordinator: -
Coordinate scheduling around turnover time | Dental Assistant: I ¦ Sterilization Coordinator: - ¦ Front Desk Coordinator: R/A
4. Materials and PPE
Materials, tools and systems
EPA-registered surface disinfectant
Disposable barrier covers for light handles, chair and controls
Sterile instrument cassette for the next procedure
Suction line cleaner and evacuation system supplies
Operatory turnover checklist
Personal protective equipment
Disposable gloves
Mask and eye protection
Protective gown
5. Procedure
5.1 Escort the patient out and don PPE | Walk the patient to the front desk, then put on gloves, mask and eye protection before touching any contaminated surface in the operatory. Owner: Dental Assistant
5.2 Remove used instruments and cassette | Remove the used instrument cassette and any loose instruments, and transport them to the sterilization area in a covered container. Owner: Dental Assistant
5.3 Remove barriers and dispose of waste | Remove all used barrier covers and dispose of them along with other clinical waste in the correct waste stream, including biohazard waste where applicable. Owner: Dental Assistant
5.4 Flush the suction and water lines | Run the recommended flush cycle on suction lines and dental unit waterlines between patients according to the manufacturer's instructions. Owner: Dental Assistant
5.5 Clean visible debris from surfaces | Wipe visible debris and spatter from the chair, light, bracket table and counters before applying disinfectant. Owner: Dental Assistant
5.6 Disinfect clinical contact surfaces | Apply an EPA-registered surface disinfectant to every clinical contact surface, keeping the surface visibly wet for the full contact time on the product label. Owner: Dental Assistant Checkpoint: Every clinical contact surface stays visibly wet for the disinfectant's full contact time before it is touched again.
5.7 Apply new barrier covers | Place fresh barrier covers on the light handle, chair switches, headrest, bracket table and any other high-touch surface that will contact gloved hands. Owner: Dental Assistant
5.8 Set up the sterile instrument tray | Retrieve the correctly labeled sterile instrument cassette for the scheduled procedure and set it up on the bracket table without opening it early. Owner: Dental Assistant Checkpoint: The instrument package is checked for intact packaging and a valid sterilization indicator before it is opened.
5.9 Restock consumable supplies | Restock gloves, masks, cotton rolls, anesthetic supplies and any procedure-specific materials needed for the next patient. Owner: Dental Assistant
5.10 Prepare the chart and imaging | Pull up the next patient's chart, treatment plan and any needed radiographs in the practice management system before the patient is seated. Owner: Dental Assistant
5.11 Confirm the operatory is ready | Do a final visual check of the room against the turnover checklist before signaling the front desk that the operatory is ready. Owner: Dental Assistant
5.12 Manage scheduling if turnover runs long | If turnover is taking longer than the scheduled gap, notify the front desk immediately so they can adjust the next patient's wait or reschedule if necessary. Owner: Front Desk Coordinator
6. Quality checks
Every clinical contact surface is disinfected for the full contact time between patients.
Barrier covers are replaced on 100 percent of turnovers, with none reused.
Instrument packages are checked for intact packaging before opening.
Average turnover time stays within the schedule's built-in gap.
7. Records
Operatory turnover checklist
Waterline and suction line flush log
Disinfectant and barrier supply inventory
Turnover time tracking log
8. KPIs
Average operatory turnover time
Percentage of turnovers completed within the scheduled gap
Barrier and disinfectant compliance rate during audits
Cross-contamination-related incident reports
9. Common mistakes
Wiping off disinfectant before the full contact time has passed.
Reusing a barrier cover for more than one patient.
Skipping the waterline or suction line flush between patients.
Opening the sterile instrument package before the patient is seated and ready.
10. Revision history
1.0 | Date: September 15, 2026 ¦ Description: Initial release ¦ Reviewed by: Ilia Pirozhenko

## Training Log
Dental Operatory Turnover SOP training log
Record every employee trained on this SOP.
Employee name | Role | Date trained | Trainer | Employee signature | Trainer signature | Notes

## Revision Log
Dental Operatory Turnover SOP revision log
Revision | Date | Description | Changed by | Approved by
1.0 | September 15, 2026 | Initial release | Ilia Pirozhenko

## About
About this template
This checklist comes from the free SOP template library by Perfect Wiki.
Open the template page
Keep this SOP up to date where your team works
Add it to Perfect Wiki so your team can find it and ask questions about it in Microsoft Teams, Slack, kChat or Mattermost.
Add to Perfect Wiki
This is a template. Adapt it to your organization, equipment and local regulations before use.