## Checklist
Sharps Disposal SOP checklist
SOP-HLC-007 ¦ Rev 1.0 ¦ Owner: Infection Prevention Coordinator
Completed by: |  |  | Date: |  |  | Shift:
Step | Task | Details | Owner | Done | Initials | Time | Notes
5.1 | Select a safety-engineered device | Use the safety-engineered needle or sharp provided for the task whenever one is available, and confirm the safety mechanism is functioning before use. | Clinical Staff Member
5.2 | Position a sharps container within reach | Before starting a procedure involving a sharp, confirm a sharps container is within arm's reach so the used sharp does not need to be carried across the room. Checkpoint: A sharps container is positioned within reach before the procedure begins, not after. | Clinical Staff Member
5.3 | Activate the safety mechanism immediately | Activate the retractable or shielded safety feature immediately after use and before setting the device down. Warning: Never leave a used, unshielded sharp on a tray, bed or counter, even for a moment. | Clinical Staff Member
5.4 | Dispose of the sharp directly into the container | Drop the used sharp directly into the sharps container yourself; never pass a used sharp to another person or leave it for someone else to dispose of. Warning: Never recap a used needle by hand. Use a one-handed technique only if recapping is unavoidable and required by the device. | Clinical Staff Member
5.5 | Check the container fill level | Check the fill line on the sharps container before and after use, and never force additional sharps into a container filled past the line marked on the container. Checkpoint: No sharps container on the unit is filled past its marked fill line. | Clinical Staff Member
5.6 | Replace a full container | When a container reaches the fill line, close and seal it, replace it with a new container mounted at the same location, and label the sealed container with the date. | Environmental Services Technician
5.7 | Transport sealed containers safely | Move sealed sharps containers to the designated biohazard waste storage area using a cart or bin that prevents tipping or puncture, and log the pickup. | Environmental Services Technician
5.8 | Provide immediate first aid after a needlestick | If a needlestick or sharps injury occurs, wash the area immediately with soap and running water, or flush mucous membranes with water, without squeezing or scrubbing the wound. | Clinical Staff Member
5.9 | Report the injury immediately | Report the needlestick injury to your charge nurse and occupational health immediately, without waiting until the end of the shift. Warning: Delaying a needlestick report can delay time-sensitive follow-up care. Report it right away. | Clinical Staff Member
5.10 | Coordinate urgent evaluation | Arrange for the injured staff member to be evaluated promptly according to the facility's occupational health protocol, including source patient testing where applicable. | Occupational Health Coordinator
5.11 | Complete the incident report | Document the circumstances of the injury, including the device involved and whether a safety mechanism was used, on the needlestick injury report form. | Charge Nurse
5.12 | Review trends and retrain | Review needlestick injury reports for patterns by device, unit or task, and schedule retraining or a device change if a pattern is identified. | Occupational Health Coordinator
Supervisor sign-off: |  |  | Date:

## SOP
Sharps Disposal SOP
Standard operating procedure
Document no. | SOP-HLC-007
Revision | 1.0
Owner | Infection Prevention Coordinator
Effective date | September 15, 2026
Review cycle | Every 12 months
1. Purpose
To prevent needlestick and sharps injuries by making sure sharps are handled safely, disposed of immediately in approved containers, and that injuries are reported and followed up without delay.
2. Scope
Applies to any staff member who uses, handles or disposes of needles, scalpels, lancets or other sharps in clinical areas. Laboratory sharps handling is covered by a separate SOP.
Definitions
Sharps container | A puncture-resistant, labeled container approved for the collection of used needles and other sharps.
Safety-engineered device | A needle or sharp with a built-in feature, such as a retractable or shielded needle, designed to reduce the risk of an accidental puncture.
Needlestick injury | An accidental puncture of the skin by a used needle or other sharp, which requires immediate first aid and reporting.
3. Responsibilities
Clinical Staff Member | Uses safety-engineered devices, disposes of sharps immediately after use, and reports any needlestick injury right away.
Charge Nurse | Monitors container fill levels on the unit, coordinates urgent care for a needlestick injury and reviews incident trends.
Environmental Services Technician | Replaces full sharps containers and manages sealed containers through proper biohazard waste channels.
Occupational Health Coordinator | Manages the needlestick injury response, testing and follow-up care.
RACI matrix
Dispose of a used sharp immediately after use | Clinical Staff Member: R/A ¦ Charge Nurse: I ¦ Environmental Services Technician: - ¦ Occupational Health Coordinator: -
Replace a full sharps container | Clinical Staff Member: I ¦ Charge Nurse: C ¦ Environmental Services Technician: R/A ¦ Occupational Health Coordinator: -
Respond to a needlestick injury | Clinical Staff Member: R ¦ Charge Nurse: R/A ¦ Environmental Services Technician: - ¦ Occupational Health Coordinator: R
Track and follow up on injury reports | Clinical Staff Member: I ¦ Charge Nurse: C ¦ Environmental Services Technician: - ¦ Occupational Health Coordinator: R/A
4. Materials and PPE
Materials, tools and systems
Wall-mounted or portable sharps containers at point of use
Safety-engineered needles and sharps devices
Needlestick injury report form
First aid supplies (soap, running water, antiseptic wipes)
Biohazard waste pickup log
Personal protective equipment
Disposable gloves
5. Procedure
5.1 Select a safety-engineered device | Use the safety-engineered needle or sharp provided for the task whenever one is available, and confirm the safety mechanism is functioning before use. Owner: Clinical Staff Member
5.2 Position a sharps container within reach | Before starting a procedure involving a sharp, confirm a sharps container is within arm's reach so the used sharp does not need to be carried across the room. Owner: Clinical Staff Member Checkpoint: A sharps container is positioned within reach before the procedure begins, not after.
5.3 Activate the safety mechanism immediately | Activate the retractable or shielded safety feature immediately after use and before setting the device down. Owner: Clinical Staff Member Warning: Never leave a used, unshielded sharp on a tray, bed or counter, even for a moment.
5.4 Dispose of the sharp directly into the container | Drop the used sharp directly into the sharps container yourself; never pass a used sharp to another person or leave it for someone else to dispose of. Owner: Clinical Staff Member Warning: Never recap a used needle by hand. Use a one-handed technique only if recapping is unavoidable and required by the device.
5.5 Check the container fill level | Check the fill line on the sharps container before and after use, and never force additional sharps into a container filled past the line marked on the container. Owner: Clinical Staff Member Checkpoint: No sharps container on the unit is filled past its marked fill line.
5.6 Replace a full container | When a container reaches the fill line, close and seal it, replace it with a new container mounted at the same location, and label the sealed container with the date. Owner: Environmental Services Technician
5.7 Transport sealed containers safely | Move sealed sharps containers to the designated biohazard waste storage area using a cart or bin that prevents tipping or puncture, and log the pickup. Owner: Environmental Services Technician
5.8 Provide immediate first aid after a needlestick | If a needlestick or sharps injury occurs, wash the area immediately with soap and running water, or flush mucous membranes with water, without squeezing or scrubbing the wound. Owner: Clinical Staff Member
5.9 Report the injury immediately | Report the needlestick injury to your charge nurse and occupational health immediately, without waiting until the end of the shift. Owner: Clinical Staff Member Warning: Delaying a needlestick report can delay time-sensitive follow-up care. Report it right away.
5.10 Coordinate urgent evaluation | Arrange for the injured staff member to be evaluated promptly according to the facility's occupational health protocol, including source patient testing where applicable. Owner: Occupational Health Coordinator
5.11 Complete the incident report | Document the circumstances of the injury, including the device involved and whether a safety mechanism was used, on the needlestick injury report form. Owner: Charge Nurse
5.12 Review trends and retrain | Review needlestick injury reports for patterns by device, unit or task, and schedule retraining or a device change if a pattern is identified. Owner: Occupational Health Coordinator
6. Quality checks
No sharps container on any unit is filled past its marked fill line.
Safety-engineered devices are used for eligible procedures across audited units.
Every needlestick injury is reported and evaluated within the facility's required timeframe.
Sharps containers are positioned within reach at every point-of-care location.
7. Records
Needlestick and sharps injury reports
Occupational health evaluation and follow-up notes
Sharps container replacement and pickup log
Device and unit trend review notes
8. KPIs
Needlestick injury rate per staff or per procedures performed
Percentage of injuries reported within the required timeframe
Sharps container overfill rate found during audits
Percentage of eligible procedures using safety-engineered devices
9. Common mistakes
Recapping a used needle by hand instead of using a one-handed technique or not recapping at all.
Carrying a used sharp across the room to find a container.
Forcing extra sharps into a container that is already past the fill line.
Waiting until the end of the shift to report a needlestick injury.
10. Revision history
1.0 | Date: September 15, 2026 ¦ Description: Initial release ¦ Reviewed by: Ilia Pirozhenko

## Training Log
Sharps Disposal SOP training log
Record every employee trained on this SOP.
Employee name | Role | Date trained | Trainer | Employee signature | Trainer signature | Notes

## Revision Log
Sharps Disposal SOP revision log
Revision | Date | Description | Changed by | Approved by
1.0 | September 15, 2026 | Initial release | Ilia Pirozhenko

## About
About this template
This checklist comes from the free SOP template library by Perfect Wiki.
Open the template page
Keep this SOP up to date where your team works
Add it to Perfect Wiki so your team can find it and ask questions about it in Microsoft Teams, Slack, kChat or Mattermost.
Add to Perfect Wiki
This is a template. Adapt it to your organization, equipment and local regulations before use.