## Checklist
Laboratory Data Recording SOP checklist
SOP-LAB-010 ¦ Rev 1.0 ¦ Owner: QA Manager
Completed by: |  |  | Date: |  |  | Shift:
Step | Task | Details | Owner | Done | Initials | Time | Notes
5.1 | Record data at the time of observation | Enter each reading, weight or observation into the LIMS or notebook at the moment it is generated, not from memory later in the shift. | Lab Analyst
5.2 | Use the approved recording method | Use only the designated LIMS field, worksheet or bound notebook page for the test being performed, writing in permanent ink if recording on paper. | Lab Analyst
5.3 | Identify the instrument and materials used | Record the asset ID of the instrument, and the lot numbers of reagents or reference standards, alongside the result they produced. | Lab Analyst
5.4 | Sign and date each entry | Sign or initial and date each page or LIMS entry as it is completed, including partial entries left at the end of a shift. | Lab Analyst
5.5 | Correct errors transparently | Draw a single line through an incorrect entry so the original is still legible, write the correction beside it, and initial and date the change. Warning: Never use correction fluid, erase, or overwrite an original entry. | Lab Analyst
5.6 | Reference formulas in calculations | Show the formula or reference used for any calculated result, not just the final number, so the calculation can be checked later. | Lab Analyst
5.7 | Flag out-of-specification results | When a result falls outside the acceptance criteria, flag it immediately in the LIMS and notify QA before releasing or repeating the test. Checkpoint: An OOS result is flagged and communicated to QA before any retest is started. | Lab Analyst
5.8 | Perform second-person review | Have a qualified second reviewer check calculations, transcription and completeness of the record before results are released. Checkpoint: The second reviewer's signature and date appear on the record before release. | QA Specialist
5.9 | Investigate flagged results | Open an investigation record for any OOS or flagged result, documenting the suspected cause and any corrective action taken. | QA Specialist
5.10 | Back up electronic records | Confirm the LIMS or electronic worksheet backup runs on schedule and verify a recent backup can be restored. | LIMS Administrator
5.11 | Control access to records | Restrict LIMS accounts and shared drive folders to authorized staff, and remove access promptly when someone changes roles or leaves. | LIMS Administrator
5.12 | Archive completed records | Move completed notebooks, worksheets and LIMS batches to archive storage per the records retention schedule once testing is closed out. | QA Specialist
Supervisor sign-off: |  |  | Date:

## SOP
Laboratory Data Recording SOP
Standard operating procedure
Document no. | SOP-LAB-010
Revision | 1.0
Owner | QA Manager
Effective date | September 15, 2026
Review cycle | Every 12 months
1. Purpose
To ensure laboratory data is recorded at the time it is generated, corrected transparently when needed, reviewed by a second person, and archived so it remains retrievable and trustworthy.
2. Scope
Applies to data recorded in bound notebooks, worksheets or the LIMS during sample testing, calculations and instrument readings, across all laboratory departments.
Definitions
Contemporaneous entry | A data entry made at the time the observation or measurement actually occurs, not from memory afterward.
Audit trail | The electronic or paper record showing who entered, changed or reviewed a piece of data and when.
Out-of-specification (OOS) result | A test result that falls outside the acceptance criteria and requires investigation before release.
3. Responsibilities
Lab Analyst | Records data at the time of observation and performs required calculations and self-checks.
QA Specialist | Performs second-person review of records and investigates flagged out-of-specification results.
Laboratory Manager | Approves record corrections beyond routine single-line strikeouts and resolves recurring documentation issues.
LIMS Administrator | Manages user access, backups and audit trail configuration in the LIMS.
RACI matrix
Record data at time of observation | Lab Analyst: R/A ¦ QA Specialist: - ¦ Laboratory Manager: - ¦ LIMS Administrator: -
Perform second-person review of records | Lab Analyst: C ¦ QA Specialist: R/A ¦ Laboratory Manager: I ¦ LIMS Administrator: -
Investigate an out-of-specification result | Lab Analyst: R ¦ QA Specialist: A ¦ Laboratory Manager: I ¦ LIMS Administrator: -
Manage LIMS user access and backups | Lab Analyst: I ¦ QA Specialist: C ¦ Laboratory Manager: I ¦ LIMS Administrator: R/A
4. Materials and PPE
Materials, tools and systems
LIMS or bound, page-numbered laboratory notebook
Calibrated instruments with current asset IDs
Approved worksheet and calculation templates
Data correction and review log
Records retention schedule
5. Procedure
5.1 Record data at the time of observation | Enter each reading, weight or observation into the LIMS or notebook at the moment it is generated, not from memory later in the shift. Owner: Lab Analyst
5.2 Use the approved recording method | Use only the designated LIMS field, worksheet or bound notebook page for the test being performed, writing in permanent ink if recording on paper. Owner: Lab Analyst
5.3 Identify the instrument and materials used | Record the asset ID of the instrument, and the lot numbers of reagents or reference standards, alongside the result they produced. Owner: Lab Analyst
5.4 Sign and date each entry | Sign or initial and date each page or LIMS entry as it is completed, including partial entries left at the end of a shift. Owner: Lab Analyst
5.5 Correct errors transparently | Draw a single line through an incorrect entry so the original is still legible, write the correction beside it, and initial and date the change. Owner: Lab Analyst Warning: Never use correction fluid, erase, or overwrite an original entry.
5.6 Reference formulas in calculations | Show the formula or reference used for any calculated result, not just the final number, so the calculation can be checked later. Owner: Lab Analyst
5.7 Flag out-of-specification results | When a result falls outside the acceptance criteria, flag it immediately in the LIMS and notify QA before releasing or repeating the test. Owner: Lab Analyst Checkpoint: An OOS result is flagged and communicated to QA before any retest is started.
5.8 Perform second-person review | Have a qualified second reviewer check calculations, transcription and completeness of the record before results are released. Owner: QA Specialist Checkpoint: The second reviewer's signature and date appear on the record before release.
5.9 Investigate flagged results | Open an investigation record for any OOS or flagged result, documenting the suspected cause and any corrective action taken. Owner: QA Specialist
5.10 Back up electronic records | Confirm the LIMS or electronic worksheet backup runs on schedule and verify a recent backup can be restored. Owner: LIMS Administrator
5.11 Control access to records | Restrict LIMS accounts and shared drive folders to authorized staff, and remove access promptly when someone changes roles or leaves. Owner: LIMS Administrator
5.12 Archive completed records | Move completed notebooks, worksheets and LIMS batches to archive storage per the records retention schedule once testing is closed out. Owner: QA Specialist
6. Quality checks
Every entry is signed, dated and made at the time of observation.
Corrections show the original entry, the change, and who made it.
Every released result has a documented second-person review.
OOS results have a linked investigation record before disposition.
7. Records
Laboratory notebooks and worksheets
LIMS audit trail
Data correction and review log
OOS investigation records
8. KPIs
Percentage of records with completed second-person review
Number of documentation errors found per audit
Average time to close an OOS investigation
Number of backup restoration tests passed per year
9. Common mistakes
Writing down results from memory at the end of the shift instead of in real time.
Using correction fluid to hide an incorrect entry.
Releasing a result before the second-person review is complete.
Not flagging an out-of-specification result before repeating the test.
10. Revision history
1.0 | Date: September 15, 2026 ¦ Description: Initial release ¦ Reviewed by: Ilia Pirozhenko

## Training Log
Laboratory Data Recording SOP training log
Record every employee trained on this SOP.
Employee name | Role | Date trained | Trainer | Employee signature | Trainer signature | Notes

## Revision Log
Laboratory Data Recording SOP revision log
Revision | Date | Description | Changed by | Approved by
1.0 | September 15, 2026 | Initial release | Ilia Pirozhenko

## About
About this template
This checklist comes from the free SOP template library by Perfect Wiki.
Open the template page
Keep this SOP up to date where your team works
Add it to Perfect Wiki so your team can find it and ask questions about it in Microsoft Teams, Slack, kChat or Mattermost.
Add to Perfect Wiki
This is a template. Adapt it to your organization, equipment and local regulations before use.