## Checklist
Lab Equipment Calibration SOP checklist
SOP-LAB-002 ¦ Rev 1.0 ¦ Owner: Quality Assurance Manager
Completed by: |  |  | Date: |  |  | Shift:
Step | Task | Details | Owner | Done | Initials | Time | Notes
5.1 | Review the calibration schedule | At the start of the week, check the calibration schedule or CMMS asset register for instruments due for calibration and pull them from the bench rotation. | Calibration Technician
5.2 | Gather reference standards | Select the certified reference weights, buffer solutions or thermometers required for the instrument, and confirm their certificates have not expired. Checkpoint: Reference standards used are within their own certification date. | Calibration Technician
5.3 | Inspect the instrument before testing | Check the instrument for physical damage, cleanliness and a stable, level, vibration-free location before starting the calibration procedure. | Calibration Technician
5.4 | Allow warm-up and stabilization | Power on the instrument and allow it to warm up and stabilize for the time stated in the manufacturer's instructions before taking readings. | Calibration Technician
5.5 | Perform the calibration procedure | Follow the manufacturer's calibration procedure for the instrument type, taking readings at the required points across its measuring range. | Calibration Technician
5.6 | Record readings and compare to tolerance | Record each reading against the reference value in the calibration log and compare the deviation to the instrument's stated tolerance. Checkpoint: Every reading is recorded before any adjustment is made to the instrument. | Calibration Technician
5.7 | Adjust or arrange service if out of tolerance | If a reading falls outside tolerance, adjust the instrument per the manufacturer's instructions and retest, or tag it out of service and arrange vendor repair. Warning: Do not return an out-of-tolerance instrument to use until it passes a repeat calibration. | Calibration Technician
5.8 | Apply the calibration label | Attach a label showing the calibration date, due date and technician initials to the instrument in a visible location. | Calibration Technician
5.9 | Update the asset register | Enter the calibration result, next due date and any parts replaced into the CMMS asset register for the instrument. | Calibration Technician
5.10 | Notify affected analysts | Tell the analysts who use the instrument that it is back in service, or that it remains out of service pending repair. | Calibration Technician
5.11 | Review certificates and trends | Review completed calibration certificates for the month, watching for instruments with repeated drift that may need replacement. | QA Manager
5.12 | File the calibration certificate | File the signed calibration certificate with the instrument's history file and retain it per the records retention schedule. | QA Manager
Supervisor sign-off: |  |  | Date:

## SOP
Lab Equipment Calibration SOP
Standard operating procedure
Document no. | SOP-LAB-002
Revision | 1.0
Owner | Quality Assurance Manager
Effective date | September 15, 2026
Review cycle | Every 12 months
1. Purpose
To ensure laboratory instruments are calibrated on schedule against traceable reference standards, so that measurements and test results remain accurate and defensible.
2. Scope
Applies to fixed and portable measuring instruments used for testing, such as analytical balances, pH meters, thermometers, ovens, incubators and spectrophotometers. Pipettes are covered by the pipette calibration SOP.
Definitions
Reference standard | A certified weight, buffer solution or other traceable item used to check an instrument's accuracy.
Tolerance | The acceptable range of deviation from the true value for an instrument to remain in service.
Out of tolerance | A calibration result outside the acceptable range, requiring adjustment, service or removal from use.
3. Responsibilities
Calibration Technician | Performs scheduled calibrations, records results and applies calibration labels.
Lab Analyst | Checks the calibration label before using an instrument and reports suspected drift.
QA Manager | Maintains the calibration schedule, reviews certificates and approves instruments returning to service.
Laboratory Manager | Approves budget for outside calibration service and resolves recurring equipment issues.
RACI matrix
Maintain calibration schedule and due dates | Calibration Technician: R ¦ Lab Analyst: I ¦ QA Manager: A ¦ Laboratory Manager: I
Perform instrument calibration | Calibration Technician: R/A ¦ Lab Analyst: I ¦ QA Manager: C ¦ Laboratory Manager: -
Approve out-of-tolerance instrument for service or retirement | Calibration Technician: R ¦ Lab Analyst: I ¦ QA Manager: A ¦ Laboratory Manager: C
Review calibration certificates | Calibration Technician: R ¦ Lab Analyst: - ¦ QA Manager: A ¦ Laboratory Manager: I
4. Materials and PPE
Materials, tools and systems
Certified reference weights, buffers and thermometers
Calibration log or CMMS asset register
Calibration due-date labels
Manufacturer calibration procedures
Out-of-service tags
Personal protective equipment
Disposable nitrile gloves
Lab coat
5. Procedure
5.1 Review the calibration schedule | At the start of the week, check the calibration schedule or CMMS asset register for instruments due for calibration and pull them from the bench rotation. Owner: Calibration Technician
5.2 Gather reference standards | Select the certified reference weights, buffer solutions or thermometers required for the instrument, and confirm their certificates have not expired. Owner: Calibration Technician Checkpoint: Reference standards used are within their own certification date.
5.3 Inspect the instrument before testing | Check the instrument for physical damage, cleanliness and a stable, level, vibration-free location before starting the calibration procedure. Owner: Calibration Technician
5.4 Allow warm-up and stabilization | Power on the instrument and allow it to warm up and stabilize for the time stated in the manufacturer's instructions before taking readings. Owner: Calibration Technician
5.5 Perform the calibration procedure | Follow the manufacturer's calibration procedure for the instrument type, taking readings at the required points across its measuring range. Owner: Calibration Technician
5.6 Record readings and compare to tolerance | Record each reading against the reference value in the calibration log and compare the deviation to the instrument's stated tolerance. Owner: Calibration Technician Checkpoint: Every reading is recorded before any adjustment is made to the instrument.
5.7 Adjust or arrange service if out of tolerance | If a reading falls outside tolerance, adjust the instrument per the manufacturer's instructions and retest, or tag it out of service and arrange vendor repair. Owner: Calibration Technician Warning: Do not return an out-of-tolerance instrument to use until it passes a repeat calibration.
5.8 Apply the calibration label | Attach a label showing the calibration date, due date and technician initials to the instrument in a visible location. Owner: Calibration Technician
5.9 Update the asset register | Enter the calibration result, next due date and any parts replaced into the CMMS asset register for the instrument. Owner: Calibration Technician
5.10 Notify affected analysts | Tell the analysts who use the instrument that it is back in service, or that it remains out of service pending repair. Owner: Calibration Technician
5.11 Review certificates and trends | Review completed calibration certificates for the month, watching for instruments with repeated drift that may need replacement. Owner: QA Manager
5.12 File the calibration certificate | File the signed calibration certificate with the instrument's history file and retain it per the records retention schedule. Owner: QA Manager
6. Quality checks
No instrument is used past its calibration due date.
Every calibration record shows the reference standard used and its certificate status.
Out-of-tolerance instruments are tagged out of service immediately.
Calibration certificates are filed and retrievable for every active instrument.
7. Records
Calibration log or CMMS asset register
Reference standard certificates
Calibration certificates
Out-of-service tags and repair records
8. KPIs
Percentage of instruments calibrated on schedule
Number of out-of-tolerance results per quarter
Average time an instrument is out of service for repair
Number of overdue calibrations
9. Common mistakes
Using an instrument past its calibration due date because the label was not checked.
Adjusting an instrument before recording the as-found reading.
Using an expired reference standard.
Not updating the asset register after a vendor repair.
10. Revision history
1.0 | Date: September 15, 2026 ¦ Description: Initial release ¦ Reviewed by: Ilia Pirozhenko

## Training Log
Lab Equipment Calibration SOP training log
Record every employee trained on this SOP.
Employee name | Role | Date trained | Trainer | Employee signature | Trainer signature | Notes

## Revision Log
Lab Equipment Calibration SOP revision log
Revision | Date | Description | Changed by | Approved by
1.0 | September 15, 2026 | Initial release | Ilia Pirozhenko

## About
About this template
This checklist comes from the free SOP template library by Perfect Wiki.
Open the template page
Keep this SOP up to date where your team works
Add it to Perfect Wiki so your team can find it and ask questions about it in Microsoft Teams, Slack, kChat or Mattermost.
Add to Perfect Wiki
This is a template. Adapt it to your organization, equipment and local regulations before use.