## Checklist
Maintenance Contractor Management SOP checklist
SOP-MNT-010 ¦ Rev 1.0 ¦ Owner: Maintenance Manager
Completed by: |  |  | Date: |  |  | Shift:
Step | Task | Details | Owner | Done | Initials | Time | Notes
5.1 | Define the scope of work | Maintenance manager writes a clear scope of work describing the task, location, timeline and any specific standards the contractor must meet, and requests quotes. | Maintenance Manager
5.2 | Verify contractor qualifications | Maintenance supervisor checks the contractor's license, certifications and trade qualifications for the type of work before confirming the booking. | Maintenance Supervisor
5.3 | Verify insurance and add to the approved vendor list | Safety coordinator confirms the contractor's certificate of insurance meets the site's minimum requirements and adds a new contractor to the approved vendor list. Checkpoint: A contractor's certificate of insurance is current and on file before they are allowed on site. | Safety Coordinator
5.4 | Conduct site safety orientation | Safety coordinator briefs the contractor on site hazards, emergency procedures, restricted areas and site-specific safety rules before work begins. | Safety Coordinator
5.5 | Issue a permit to work for high-risk tasks | For hot work, confined space entry or other high-risk tasks, the safety coordinator reviews and issues a permit to work before the contractor starts. Warning: Do not allow hot work, confined space entry or energized electrical work to begin without a signed permit to work. | Safety Coordinator
5.6 | Coordinate site access | Maintenance supervisor escorts or badges in the contractor, confirms the work area is ready, and identifies the site contact for the duration of the job. | Maintenance Supervisor
5.7 | Coordinate lockout/tagout with the contractor | Maintenance supervisor confirms who holds lockout/tagout authority on any shared equipment and verifies the contractor's locks are applied correctly alongside site locks. | Maintenance Supervisor
5.8 | Monitor work in progress | Maintenance supervisor periodically checks the contractor's work for safety compliance and progress against the scope of work while the job is underway. | Maintenance Supervisor
5.9 | Inspect completed work against scope | Maintenance supervisor inspects the finished work against the agreed scope of work and flags any item that does not meet the standard before sign-off. Checkpoint: Completed work matches every item in the scope of work before the contractor is signed off site. | Maintenance Supervisor
5.10 | Collect contractor documentation | Contractor provides any required certificates, as-built drawings, test results or warranty documents before leaving site. | Contractor
5.11 | Approve the invoice against the scope | Maintenance manager reviews the contractor's invoice against the approved scope of work and quote before approving payment. | Maintenance Manager
5.12 | Evaluate contractor performance | Maintenance manager records the contractor's performance on quality, safety and schedule on the evaluation form, updating their standing on the approved vendor list. | Maintenance Manager
Supervisor sign-off: |  |  | Date:

## SOP
Maintenance Contractor Management SOP
Standard operating procedure
Document no. | SOP-MNT-010
Revision | 1.0
Owner | Maintenance Manager
Effective date | September 15, 2026
Review cycle | Every 12 months
1. Purpose
To make sure outside contractors performing maintenance work are qualified, properly insured, briefed on site safety requirements, and supervised so their work meets the same safety and quality standard as in-house maintenance.
2. Scope
Applies to external contractors and vendors performing maintenance, repair or specialized service work on site. Construction projects managed under a separate capital project process are not covered.
Definitions
Permit to work | A formal authorization required before certain high-risk tasks, such as hot work or confined space entry, can begin.
Approved vendor list | The list of contractors who have been vetted and approved to perform work on site.
Site orientation | A briefing given to a contractor before work starts, covering site hazards, emergency procedures and site-specific rules.
Scope of work | The written description of the tasks a contractor is engaged to perform, used to check the completed work against.
3. Responsibilities
Maintenance Manager | Defines the scope of work, reviews contractor qualifications, and approves the final invoice.
Maintenance Supervisor | Coordinates site access, issues permits to work, and monitors the contractor's work in progress.
Contractor | Performs the work per the agreed scope, follows site safety rules, and provides required documentation on completion.
Safety Coordinator | Reviews contractor safety qualifications, conducts site orientation, and approves high-risk permits to work.
RACI matrix
Define scope of work and select contractor | Maintenance Manager: R/A ¦ Maintenance Supervisor: C ¦ Contractor: I ¦ Safety Coordinator: -
Verify qualifications, licenses and insurance | Maintenance Manager: A ¦ Maintenance Supervisor: R ¦ Contractor: R ¦ Safety Coordinator: C
Conduct site orientation and issue permit to work | Maintenance Manager: I ¦ Maintenance Supervisor: R ¦ Contractor: R ¦ Safety Coordinator: A
Monitor work in progress | Maintenance Manager: I ¦ Maintenance Supervisor: R/A ¦ Contractor: R ¦ Safety Coordinator: C
Inspect completed work and approve invoice | Maintenance Manager: A ¦ Maintenance Supervisor: R ¦ Contractor: I ¦ Safety Coordinator: -
4. Materials and PPE
Materials, tools and systems
Approved vendor list
Scope of work and quote documentation
Certificate of insurance and license records
Permit to work forms
Site safety orientation materials
Contractor performance evaluation form
Personal protective equipment
PPE as required by the specific scope of work
Visitor or contractor identification badge
5. Procedure
5.1 Define the scope of work | Maintenance manager writes a clear scope of work describing the task, location, timeline and any specific standards the contractor must meet, and requests quotes. Owner: Maintenance Manager
5.2 Verify contractor qualifications | Maintenance supervisor checks the contractor's license, certifications and trade qualifications for the type of work before confirming the booking. Owner: Maintenance Supervisor
5.3 Verify insurance and add to the approved vendor list | Safety coordinator confirms the contractor's certificate of insurance meets the site's minimum requirements and adds a new contractor to the approved vendor list. Owner: Safety Coordinator Checkpoint: A contractor's certificate of insurance is current and on file before they are allowed on site.
5.4 Conduct site safety orientation | Safety coordinator briefs the contractor on site hazards, emergency procedures, restricted areas and site-specific safety rules before work begins. Owner: Safety Coordinator
5.5 Issue a permit to work for high-risk tasks | For hot work, confined space entry or other high-risk tasks, the safety coordinator reviews and issues a permit to work before the contractor starts. Owner: Safety Coordinator Warning: Do not allow hot work, confined space entry or energized electrical work to begin without a signed permit to work.
5.6 Coordinate site access | Maintenance supervisor escorts or badges in the contractor, confirms the work area is ready, and identifies the site contact for the duration of the job. Owner: Maintenance Supervisor
5.7 Coordinate lockout/tagout with the contractor | Maintenance supervisor confirms who holds lockout/tagout authority on any shared equipment and verifies the contractor's locks are applied correctly alongside site locks. Owner: Maintenance Supervisor
5.8 Monitor work in progress | Maintenance supervisor periodically checks the contractor's work for safety compliance and progress against the scope of work while the job is underway. Owner: Maintenance Supervisor
5.9 Inspect completed work against scope | Maintenance supervisor inspects the finished work against the agreed scope of work and flags any item that does not meet the standard before sign-off. Owner: Maintenance Supervisor Checkpoint: Completed work matches every item in the scope of work before the contractor is signed off site.
5.10 Collect contractor documentation | Contractor provides any required certificates, as-built drawings, test results or warranty documents before leaving site. Owner: Contractor
5.11 Approve the invoice against the scope | Maintenance manager reviews the contractor's invoice against the approved scope of work and quote before approving payment. Owner: Maintenance Manager
5.12 Evaluate contractor performance | Maintenance manager records the contractor's performance on quality, safety and schedule on the evaluation form, updating their standing on the approved vendor list. Owner: Maintenance Manager
6. Quality checks
No contractor is granted site access without a verified certificate of insurance on file.
Every high-risk task has a signed permit to work before it begins.
Completed work is inspected against the scope of work before invoice approval.
Contractor performance is recorded after every significant job.
7. Records
Scope of work and quotes
Certificates of insurance and licenses
Permit to work forms
Contractor documentation (certificates, as-builts, warranties)
Contractor performance evaluations
8. KPIs
Percentage of contractor jobs with a completed evaluation
Safety incidents involving contractors
Jobs completed within the agreed scope and budget
Approved vendor list turnover
9. Common mistakes
Letting a contractor start work before their insurance certificate is verified.
Skipping site safety orientation for a contractor who has visited before.
Issuing a permit to work without confirming the actual hazard controls are in place.
Approving an invoice without inspecting the completed work against the scope.
Never recording contractor performance, so problems repeat with the same vendor.
10. Revision history
1.0 | Date: September 15, 2026 ¦ Description: Initial release ¦ Reviewed by: Ilia Pirozhenko

## Training Log
Maintenance Contractor Management SOP training log
Record every employee trained on this SOP.
Employee name | Role | Date trained | Trainer | Employee signature | Trainer signature | Notes

## Revision Log
Maintenance Contractor Management SOP revision log
Revision | Date | Description | Changed by | Approved by
1.0 | September 15, 2026 | Initial release | Ilia Pirozhenko

## About
About this template
This checklist comes from the free SOP template library by Perfect Wiki.
Open the template page
Keep this SOP up to date where your team works
Add it to Perfect Wiki so your team can find it and ask questions about it in Microsoft Teams, Slack, kChat or Mattermost.
Add to Perfect Wiki
This is a template. Adapt it to your organization, equipment and local regulations before use.