## Checklist
Pharmacy Cold Chain SOP checklist
SOP-PHA-006 ¦ Rev 1.0 ¦ Owner: Pharmacist in Charge
Completed by: |  |  | Date: |  |  | Shift:
Step | Task | Details | Owner | Done | Initials | Time | Notes
5.1 | Verify unit calibration before receiving | Confirm the pharmacy refrigerator or freezer thermometer is within its calibration date and reading correctly before accepting a cold-chain shipment. | Pharmacy Technician
5.2 | Inspect the shipment on arrival | Check the shipping container's temperature indicator, ice pack condition and packaging integrity as soon as the delivery arrives. | Pharmacy Technician
5.3 | Record the arrival temperature | Read and record the shipment's temperature indicator or logger result immediately, before moving the product into storage. Checkpoint: The arrival temperature is recorded before the shipment is opened and shelved. | Pharmacy Technician
5.4 | Quarantine an out-of-range shipment | If the shipment arrives outside its required range, place it in a clearly marked quarantine area and do not shelve it with active stock. Warning: Never dispense or return an out-of-range shipment to active stock until a pharmacist has assessed it. | Pharmacy Technician
5.5 | Move stock into storage promptly | For shipments within range, move the product into the refrigerator or freezer promptly to minimize time outside required temperature. | Pharmacy Technician
5.6 | Log temperature twice daily | Read and record the refrigerator or freezer temperature at the start and end of each business day, or review the continuous logger download. | Pharmacy Technician
5.7 | Respond to an alarm or out-of-range reading | If a reading is out of range, check the door seal and power connection, note the duration of the excursion, and notify the pharmacist immediately. | Pharmacy Technician
5.8 | Assess product viability | Review the excursion's duration and temperature against the manufacturer's stability data or contact the manufacturer to decide whether affected stock can still be used. Checkpoint: No affected product is dispensed until a viability decision is documented. | Pharmacist
5.9 | Document the excursion and corrective action | Record the excursion's cause, duration, affected products and the viability decision on the cold chain temperature log. | Pharmacist
5.10 | Maintain the backup power plan | Confirm the backup power or generator plan for refrigeration is current and test it on the schedule set by the pharmacist in charge. | Pharmacist in Charge
5.11 | Rotate stock within the unit | Shelve refrigerated and frozen stock by FEFO within the unit so soonest-expiring product is used first. | Pharmacy Technician
5.12 | Pack cold-chain items for patient pickup | Place dispensed refrigerated items in an insulated bag with a gel pack for patient pickup or delivery, and remind the patient to refrigerate on arrival home. | Delivery Driver
Supervisor sign-off: |  |  | Date:

## SOP
Pharmacy Cold Chain SOP
Standard operating procedure
Document no. | SOP-PHA-006
Revision | 1.0
Owner | Pharmacist in Charge
Effective date | September 15, 2026
Review cycle | Every 12 months
1. Purpose
To keep temperature-sensitive medication within its required range from receipt through patient pickup, and to respond quickly and document any temperature excursion.
2. Scope
Applies to refrigerated and frozen medications, including vaccines and biologics, stored or dispensed by the pharmacy. Does not cover non-refrigerated inventory, covered by the inventory management SOP.
Definitions
Temperature excursion | A period where a refrigerator or freezer reading falls outside its required range.
Continuous temperature logger | A device that records refrigerator or freezer temperature at set intervals for later review.
Cold pack shipment | A delivery packed with ice or gel packs and a temperature indicator to keep contents within range in transit.
3. Responsibilities
Pharmacy Technician | Receives cold-chain shipments, logs temperatures and stocks the refrigerator or freezer.
Pharmacist | Assesses product viability after an excursion and decides whether stock can still be used.
Pharmacist in Charge | Maintains the temperature monitoring program and approves the backup power plan.
Delivery Driver | Transports patient take-home cold-chain items in an insulated container.
RACI matrix
Check unit temperature before accepting shipment | Pharmacy Technician: R/A ¦ Pharmacist: I ¦ Pharmacist in Charge: - ¦ Delivery Driver: -
Record twice-daily temperature log | Pharmacy Technician: R/A ¦ Pharmacist: I ¦ Pharmacist in Charge: - ¦ Delivery Driver: -
Assess product viability after an excursion | Pharmacy Technician: I ¦ Pharmacist: R/A ¦ Pharmacist in Charge: C ¦ Delivery Driver: -
Maintain backup power plan | Pharmacy Technician: I ¦ Pharmacist: - ¦ Pharmacist in Charge: R/A ¦ Delivery Driver: -
Transport cold-chain item to patient | Pharmacy Technician: C ¦ Pharmacist: I ¦ Pharmacist in Charge: - ¦ Delivery Driver: R/A
4. Materials and PPE
Materials, tools and systems
Calibrated pharmacy-grade refrigerator and freezer
Continuous temperature logger or min/max thermometer
Cold chain temperature log
Insulated bags and gel packs for patient pickup
Backup power or generator plan documentation
Manufacturer package inserts for storage requirements
Personal protective equipment
Disposable nitrile gloves
5. Procedure
5.1 Verify unit calibration before receiving | Confirm the pharmacy refrigerator or freezer thermometer is within its calibration date and reading correctly before accepting a cold-chain shipment. Owner: Pharmacy Technician
5.2 Inspect the shipment on arrival | Check the shipping container's temperature indicator, ice pack condition and packaging integrity as soon as the delivery arrives. Owner: Pharmacy Technician
5.3 Record the arrival temperature | Read and record the shipment's temperature indicator or logger result immediately, before moving the product into storage. Owner: Pharmacy Technician Checkpoint: The arrival temperature is recorded before the shipment is opened and shelved.
5.4 Quarantine an out-of-range shipment | If the shipment arrives outside its required range, place it in a clearly marked quarantine area and do not shelve it with active stock. Owner: Pharmacy Technician Warning: Never dispense or return an out-of-range shipment to active stock until a pharmacist has assessed it.
5.5 Move stock into storage promptly | For shipments within range, move the product into the refrigerator or freezer promptly to minimize time outside required temperature. Owner: Pharmacy Technician
5.6 Log temperature twice daily | Read and record the refrigerator or freezer temperature at the start and end of each business day, or review the continuous logger download. Owner: Pharmacy Technician
5.7 Respond to an alarm or out-of-range reading | If a reading is out of range, check the door seal and power connection, note the duration of the excursion, and notify the pharmacist immediately. Owner: Pharmacy Technician
5.8 Assess product viability | Review the excursion's duration and temperature against the manufacturer's stability data or contact the manufacturer to decide whether affected stock can still be used. Owner: Pharmacist Checkpoint: No affected product is dispensed until a viability decision is documented.
5.9 Document the excursion and corrective action | Record the excursion's cause, duration, affected products and the viability decision on the cold chain temperature log. Owner: Pharmacist
5.10 Maintain the backup power plan | Confirm the backup power or generator plan for refrigeration is current and test it on the schedule set by the pharmacist in charge. Owner: Pharmacist in Charge
5.11 Rotate stock within the unit | Shelve refrigerated and frozen stock by FEFO within the unit so soonest-expiring product is used first. Owner: Pharmacy Technician
5.12 Pack cold-chain items for patient pickup | Place dispensed refrigerated items in an insulated bag with a gel pack for patient pickup or delivery, and remind the patient to refrigerate on arrival home. Owner: Delivery Driver
6. Quality checks
Every cold-chain shipment has a recorded arrival temperature.
Refrigerator and freezer temperatures are logged twice daily without gaps.
Every excursion has a documented viability decision before affected stock is used.
The backup power plan has been tested within the last year.
7. Records
Cold chain temperature log
Shipment arrival temperature records
Excursion and corrective action documentation
Backup power plan test records
8. KPIs
Number of temperature excursions per quarter
Percentage of scheduled temperature logs completed on time
Average time to respond to an out-of-range alarm
Dollar value of cold-chain stock lost to excursions
9. Common mistakes
Shelving a cold-chain shipment before reading its arrival temperature.
Skipping a daily temperature log entry when the pharmacy is busy.
Assuming a brief door opening caused an excursion without checking the actual duration.
Dispensing from a quarantined shipment before a viability decision is made.
10. Revision history
1.0 | Date: September 15, 2026 ¦ Description: Initial release ¦ Reviewed by: Ilia Pirozhenko

## Training Log
Pharmacy Cold Chain SOP training log
Record every employee trained on this SOP.
Employee name | Role | Date trained | Trainer | Employee signature | Trainer signature | Notes

## Revision Log
Pharmacy Cold Chain SOP revision log
Revision | Date | Description | Changed by | Approved by
1.0 | September 15, 2026 | Initial release | Ilia Pirozhenko

## About
About this template
This checklist comes from the free SOP template library by Perfect Wiki.
Open the template page
Keep this SOP up to date where your team works
Add it to Perfect Wiki so your team can find it and ask questions about it in Microsoft Teams, Slack, kChat or Mattermost.
Add to Perfect Wiki
This is a template. Adapt it to your organization, equipment and local regulations before use.