## Checklist
Tenant Maintenance Request SOP checklist
SOP-PRM-003 ¦ Rev 1.0 ¦ Owner: Property Manager
Completed by: |  |  | Date: |  |  | Shift:
Step | Task | Details | Owner | Done | Initials | Time | Notes
5.1 | Log the incoming request | Log every maintenance request in the work order system with the tenant's description, unit number, and the date and time it was received, regardless of how it came in. | Leasing Agent
5.2 | Triage the urgency level | Classify the request as emergency, urgent, or routine based on the description, using the property's defined criteria for each level. Checkpoint: Every request is assigned an urgency level within the response time the property has committed to tenants. | Leasing Agent
5.3 | Respond immediately to an emergency | For an emergency such as no heat in freezing weather, a gas smell, or active flooding, dispatch a technician or emergency contractor immediately and follow up with the tenant by phone. Warning: For a gas leak or suspected carbon monoxide, tell the tenant to evacuate and call the gas utility or emergency services before a technician is dispatched. | Maintenance Technician
5.4 | Schedule access with the tenant | Contact the tenant to schedule a repair window and confirm the notice-to-enter requirement under the lease and local law has been met. | Leasing Agent
5.5 | Gather parts and tools before dispatch | Review the request details and gather likely tools and parts before heading to the unit, to avoid an extra trip for a common repair. | Maintenance Technician
5.6 | Diagnose the issue on site | Inspect the reported issue on site, confirm the cause, and determine whether it can be resolved with materials on hand or needs a follow-up visit or specialist. | Maintenance Technician
5.7 | Complete the repair | Complete the repair to the property's standard, test that the fix works under normal use, and clean up the work area before leaving. Checkpoint: The repaired system or fixture is tested and confirmed working before the technician leaves the unit. | Maintenance Technician
5.8 | Get approval for outside contractor work | When a repair needs a licensed specialist or exceeds the technician's authority to spend, submit the estimate to the property manager for approval before scheduling the contractor. | Property Manager
5.9 | Document the work order | Record what was found, what was done, parts used, and time spent on the work order, including any follow-up work still needed. | Maintenance Technician
5.10 | Confirm completion with the tenant | Notify the tenant that the repair is complete and ask them to confirm the issue is resolved, logging any reported ongoing problem for follow-up. | Leasing Agent
5.11 | Close the work order | Close the work order in the system once the tenant confirms the issue is resolved, or reopen it if the problem recurs. | Leasing Agent
Supervisor sign-off: |  |  | Date:

## SOP
Tenant Maintenance Request SOP
Standard operating procedure
Document no. | SOP-PRM-003
Revision | 1.0
Owner | Property Manager
Effective date | September 15, 2026
Review cycle | Every 12 months
1. Purpose
To resolve tenant maintenance requests quickly and safely, prioritizing urgent issues and keeping the tenant informed from intake through completion.
2. Scope
Applies to tenant-submitted repair and maintenance requests for occupied units. Preventive maintenance schedules and vacant unit turnover work are covered by separate SOPs.
Definitions
Emergency maintenance | An issue that threatens health, safety, or the structure, such as no heat in freezing weather, a gas smell, or active flooding.
Work order | The record created for a maintenance request, tracking its priority, assigned technician, and status until closed.
3. Responsibilities
Property Manager | Reviews escalated or high-cost requests and approves outside contractor work.
Leasing Agent | Logs incoming requests, triages urgency, and communicates scheduling and status to the tenant.
Maintenance Technician | Diagnoses and completes the repair and reports back on parts, cause, and follow-up needed.
RACI matrix
Log and triage the request | Property Manager: I ¦ Leasing Agent: R/A ¦ Maintenance Technician: C
Respond to an emergency request | Property Manager: I ¦ Leasing Agent: C ¦ Maintenance Technician: R/A
Schedule access with the tenant | Property Manager: I ¦ Leasing Agent: R/A ¦ Maintenance Technician: C
Complete and document the repair | Property Manager: I ¦ Leasing Agent: - ¦ Maintenance Technician: R/A
Approve outside contractor work | Property Manager: R/A ¦ Leasing Agent: C ¦ Maintenance Technician: C
4. Materials and PPE
Materials, tools and systems
Property management software or work order system
Maintenance request intake form
Notice-to-enter form
Basic tool kit and common spare parts
Contractor contact list for specialty repairs
Personal protective equipment
Work gloves
Safety glasses for repair tasks
5. Procedure
5.1 Log the incoming request | Log every maintenance request in the work order system with the tenant's description, unit number, and the date and time it was received, regardless of how it came in. Owner: Leasing Agent
5.2 Triage the urgency level | Classify the request as emergency, urgent, or routine based on the description, using the property's defined criteria for each level. Owner: Leasing Agent Checkpoint: Every request is assigned an urgency level within the response time the property has committed to tenants.
5.3 Respond immediately to an emergency | For an emergency such as no heat in freezing weather, a gas smell, or active flooding, dispatch a technician or emergency contractor immediately and follow up with the tenant by phone. Owner: Maintenance Technician Warning: For a gas leak or suspected carbon monoxide, tell the tenant to evacuate and call the gas utility or emergency services before a technician is dispatched.
5.4 Schedule access with the tenant | Contact the tenant to schedule a repair window and confirm the notice-to-enter requirement under the lease and local law has been met. Owner: Leasing Agent
5.5 Gather parts and tools before dispatch | Review the request details and gather likely tools and parts before heading to the unit, to avoid an extra trip for a common repair. Owner: Maintenance Technician
5.6 Diagnose the issue on site | Inspect the reported issue on site, confirm the cause, and determine whether it can be resolved with materials on hand or needs a follow-up visit or specialist. Owner: Maintenance Technician
5.7 Complete the repair | Complete the repair to the property's standard, test that the fix works under normal use, and clean up the work area before leaving. Owner: Maintenance Technician Checkpoint: The repaired system or fixture is tested and confirmed working before the technician leaves the unit.
5.8 Get approval for outside contractor work | When a repair needs a licensed specialist or exceeds the technician's authority to spend, submit the estimate to the property manager for approval before scheduling the contractor. Owner: Property Manager
5.9 Document the work order | Record what was found, what was done, parts used, and time spent on the work order, including any follow-up work still needed. Owner: Maintenance Technician
5.10 Confirm completion with the tenant | Notify the tenant that the repair is complete and ask them to confirm the issue is resolved, logging any reported ongoing problem for follow-up. Owner: Leasing Agent
5.11 Close the work order | Close the work order in the system once the tenant confirms the issue is resolved, or reopen it if the problem recurs. Owner: Leasing Agent
6. Quality checks
Every request is logged with a work order and an assigned urgency level.
Emergency requests receive a documented response within the property's committed time.
Notice-to-enter requirements are met before entering an occupied unit.
Completed repairs are tested on site before the technician leaves.
7. Records
Maintenance work order log
Notice-to-enter records
Contractor estimates and approvals
Tenant completion confirmations
8. KPIs
Average response time by urgency level
Percentage of requests closed on the first visit
Repeat request rate within 30 days
9. Common mistakes
Misclassifying an emergency request as routine.
Entering a unit without meeting notice requirements.
Closing a work order before the tenant confirms the issue is resolved.
Not documenting the cause and parts used, making repeat issues hard to track.
10. Revision history
1.0 | Date: September 15, 2026 ¦ Description: Initial release ¦ Reviewed by: Alexa Uskova

## Training Log
Tenant Maintenance Request SOP training log
Record every employee trained on this SOP.
Employee name | Role | Date trained | Trainer | Employee signature | Trainer signature | Notes

## Revision Log
Tenant Maintenance Request SOP revision log
Revision | Date | Description | Changed by | Approved by
1.0 | September 15, 2026 | Initial release | Alexa Uskova

## About
About this template
This checklist comes from the free SOP template library by Perfect Wiki.
Open the template page
Keep this SOP up to date where your team works
Add it to Perfect Wiki so your team can find it and ask questions about it in Microsoft Teams, Slack, kChat or Mattermost.
Add to Perfect Wiki
This is a template. Adapt it to your organization, equipment and local regulations before use.